## Slide 1: ACCESSIBILITY IN THE REAL WORLD
*ACCURACY IN DETAILS, AND ACCESSIBILITY WALKS
Understanding their purpose
ORB University
ORB UNIVERSITY – OCTOBER 25, 2023
PRESENTED BY Theodore Cannon

## Slide 2: THE PURPOSE OF THIS PRESENTATION
To give a generalized overview of the importance of accessibility.
To better understand an aspect of our job that you may not be familiar with.
To become more informed about the impact of our design decisions during construction and in the real world.

## Slide 3: BACKGROUND: ACCESSIBILITY STANDARDS COME FROM…?
Four (4) main sources for accessibility standards that influence how we design and inspect our projects.
Fair Housing Act Design Manual (FHA)
Building code (IBC, referencing ANSI A117.1)
Americans with Disabilities Act Standards for Accessible Design (ADA)
4. *Terry Kitay of Baker Donelson (Tolerances)

## Slide 4: *FOR MORE ACCESSIBILITY INFORMATION
Terry Kitay “Housing Accessibility” presentation is located on the server in the ORB Resource Library > Accessibility Items
“ Theresa L. "Terry" Kitay focuses her practice on defense and preventive representation of clients in the housing industry in all civil rights matters.”
- Baker Donelson Website.

## Slide 5: FROM CODE TO DETAIL
2
1
Let’s take a closer look…
Most constraints are derived from the code…
Then comes the drawings.

## Slide 6: THE IMPORTANCE OF ACCURACY WITH THE DRAWINGS

## Slide 7: THE IMPORTANCE OF THE DRAWINGS
There are multiple points within our drawings where it is important to understand our accessibility standards and correctly implement them within our designs. For example: A bathroom….
Toilet
Clear floor space
Distance from the finished wall
Distance from vanity
Bathroom Vanity
Removable base cabinet?
Bathtub/Shower
Tub or Shower?
Clear floor space
Closet
Depth
THE TYPE OF BATHROOM DETERMINES EVERYTHING

## Slide 8: THE IMPORTANCE OF THE DRAWINGS
Even areas of design that may seem minor have multiple points where it is important to understand our accessibility standards and correctly implement them. For example: Doors….
Doors
Approach side?
Push or Pull?
Closer and/or latch provided?

## Slide 9: THE IMPORTANCE OF THE DRAWINGS
We must ensure accuracy when it comes to our drawings, otherwise, certain items may not comply.
Which detail is correct?
A
B
REACH RANGES
Errors such as the one highlighted in Detail B can lead to extra work in the field which equates to more money.

## Slide 10: FROM CODE TO DETAIL TO BUILD
2
2
1
3

## Slide 11: WHAT’S AN ACCESSIBILITY INSPECTION…?
Accessibility inspections are an additional service provided to the client by ORB. It is something a client can choose to add to their contract.
The purpose of these inspections is to ensure that the client/contractor is truly following our drawings.
This service has not always been offered by ORB. It began after discovering the consistent rate at which accessibility items were not being implemented during construction.
  This can lead to problems down the line that include unsatisfied renters, and lawsuits.

## Slide 12: WHAT’S AN ACCESSIBILITY INSPECTION…?
The purpose of these inspections is to ensure that the client/contractor follows our drawings.
  We coordinate with the construction team on all accessibility items during rough framing and finish construction.
What is it we actually do…?
  This includes:
    Fielding questions regarding accessibility across the entire site.
    Coordinating the scheduling of accessibility inspections.
    Inspecting every applicable area of the site during accessibility inspections.
    Often reinspecting areas that were missed or not completed on the first inspection.
    Performing post-walk procedures

## Slide 13: WHAT’S AN ACCESSIBILITY INSPECTION…?
There are multiple types of accessibility Inspections that ORB performs for a project.
  For Common Areas
  Common Area Rough Inspections
  Common Area Finish Inspections
  For Site
  Site Accessibility Inspections
  For Units
  Unit Rough Framing Inspections
  Unit Finish Inspections
Today’s Focus

## Slide 14: HOW OUR DRAWINGS TRANSITION TO THE REAL WORLD.

## Slide 15: IT ALL COMES FROM OUR DETAILS
ORB DETAIL 38/A7.8.12
Why dimensions are important…
ROUGH FRAMING
ANSI B – REINFORCEMENT FOR TOILETS AT NO CORNER CONDITION
FINISH - SWING UP GRAB BAR
18” MIN. FOR TOILET AT NO CORNER CONDITION. WHY IS THIS DIMENSION 18” MIN. AND NOT 16”-18”?

## Slide 16: IT ALL COMES FROM OUR DETAILS
ORB DETAIL 10/A7.8.12
Why understanding our details is important
ROUGH FRAMING
TYPICAL J-BOX MOUNTING HEIGHTS
REACH RANGES
*NOTE THE REAL-WORLD IMPACT ACCESSIBLE MINIMUMS AND MAXIMUMS CAN HAVE ON THE USER EXPERIENCE.

## Slide 17: IT ALL COMES FROM OUR DETAILS
ORB DETAIL 45/A7.8.12
What it means to specify a detail…
ROUGH FRAMING
REMOVABLE BASE CABINETS
REAL WORLD
NOTE THE IMPORTANCE OF SOMETHING AS SIMPLE AS REMEMBERING TO SPECIFY TO CONTINUE THE FINISH FLOORING UNDER THE REMOVABLE CABINET.
THIS DIRECTLY IMPACTS THE USER EXPERIENCE

## Slide 18: IT ALL COMES FROM OUR DETAILS
For units
ORB DETAIL 39/A7.8.12
POWER OUTLET LOCATIONS AND CLEARANCES AT GALLEY KITCHENS
GALLEY KITCHEN CLEARANCE
More info on this later.

## Slide 19: FROM CODE TO DETAIL TO BUILD TO CHECKLIST
2
PROCORE INSPECTION CHECKLIST
2
1
4
3

## Slide 20: PROCORE INSPECTION CHECKLISTS

## Slide 21: ACCESSIBILITY DETAILS IN THE REAL WORLD - DEMONSTRATION

## Slide 22: LET’S SEE ACCESSIBILITY DETAILS IN THE REAL WORLD.
STATION 1 - J BOX HEIGHTS
  Identify if the J BOX heights pass or fail the inspection
STATION 2 - MOCK TOILET and GRAB BAR BLOCKING
  Identify if the blocking location/dimensions pass or fail the inspection
STATION 3 - GALLEY KITCHEN CLEARANCES
  Identify if the galley kitchen meets the required clear space between the two opposing sides

## Slide 23: *NOTE !
LET IT BE KNOWN THAT A PERMIT FROM THE CITY DOES NOT EXCUSE YOU FROM LAWSUITS IN THE FUTURE.

## Slide 24: THE NEGATIVE POSSIBILITIES

## Slide 25: REAL WORLD IMPACT
Syracuse, NY

## Slide 26: REAL WORLD IMPACT
Galena, KS